Mechanical Line Voltage Thermostats

|  | Product # | Range | Power | DescrIption | Qty |
| --- | --- | --- | --- | --- | --- |
|  | OTL221 | 5 °C to 32 °C (41 °F to 90 °F) | 22A at 120/208/240/277V | Mechanical thermostat, single-pole, single-throw, Celsius and Fahrenheit |  |
|  | OTL222 |  | 22A at 120/208/240/277V | Mechanical thermostat, double-pole, single-throw, Celsius and Fahrenheit |  |
|  | T498A1927 | 5 °C to 25 °C | 19A at 277V 22A at 120/208/240V | Mechanical Line voltage thermostat, single-pole, single-throw |  |

Standard color is white.

Mechanical Low Voltage Thermostats

|  | # Product | Range | DescrIption | Qty |
| --- | --- | --- | --- | --- |
|  | T87K1015 | 10 °C to 35 °C | Mechanical Low voltage thermostat, round |  |
|  | T822K1034 | 10 °C to 32 °C | Mechanical Low voltage thermostat, rectangular, Celsius |  |

Standard color is white.

Programmable Battery-Powered Electronic Thermostat (Low or Line Voltage)

|  | Product # | Amp. | Volts | DescrIption | Qty |
| --- | --- | --- | --- | --- | --- |
|  | TH140-28-01-B | 5A (resistive) 2A (inductive) | 24/120/240 | Programmable battery-powered electronic thermostat |  |

Standard color is white.

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |