[image: image1.jpg]%
0920020920027,
ZRAEREA
RIRH%A
SR IHZKS
RIALA



[image: image4.jpg]@DUELLET



[image: image4.jpg]

Approval Drawings

 Series

OCC-WB

Unit Heater with Bracket

[image: image5.emf]







  [image: image2.jpg]


      

Features

Color
-
Standard: almond. 

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
240/208V, 1-phase.

Construction
-
Handle may be used as a reel for the electrical cable and as attach point 
for the bracket.

-
6 ft. (2 m) molded electrical cable for extra durability.


-
Safely recessed thermostat knob reduces heater size to a minimum.


-
High-limit temperature control with automatic reset.

Fan
-
Enclosed motor permanently lubricated.
Note: The open motor is not intended for use in a dusty environment. 

-
300 cfm fan.
Heating element
-
Helical coil nickel-chromium alloy wire protected by ceramic insulators.


-
Heating element provides instant heat.
Temperature rise
-
28 °C (51 °F).
Control
-
Built-in thermostat included.
Installation
-
Wall or ceiling mounting using the supplied bracket 
which allow 360° rotation of the 
heater and prevent it from tipping over.


-
4000W must be plugged into a grounded 3-pronged outlet, 20A, 240VAC.


- 4800W must be plugged into a grounded 3-pronged outlet, 30A, 240VAC.


Note: Always unplug heater when not in use.

Warranty
-
3-year warranty against defects.
Application
-
Workshop, shed, garage.
[image: image3.jpg]307 mm

228 mm

121/8"
 38mm 9"

—\/ \/— 112" ﬁ

ba
Heating ge
Element >()(]
)

309 mm O

Motor

RO
RADBERERNIG
L D
OB
LG

%

<>

Fan

12 RN %%gog%@g%g
Al
R URSBGORN

,9@9000@@0
000 OO
Thermostat — Qi
P e &L ]| ]





Models
	Product #
	Qty
	Watts
	Volts
	Motor type
	Grounded

3-pronged outlet
	Weight

	
	
	
	
	
	
	lb
	kg

	OCCU4000AMWB-MF-TB6
	
	4000/3000
	240/208
	Enclosed
	20A, 240VAC
	16.0
	7.3

	OCCU4800AMWB-MF-TB6
	
	4800/3600
	240/208
	Enclosed
	30A, 240VAC
	16.0
	7.3


Standard color is almond.
Others

	Type
	Quantity
	Model and description

Complementary information
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact at Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043  (418) 247-3947 • Fax: 1 800 662-7801  (418) 247-7801 • www.ouellet.com • info@ouellet.com


