[image: image1.jpg]


[image: image4.jpg]@DUELLET



[image: image4.jpg]

Approval Drawings

Series

OCC
Portable Construction Heater

[image: image5.emf]







 [image: image2.jpg]


       

Features

Color
-
Standard: almond. 

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
240/208V, 1-phase.

Construction
-
Handle may be used as a reel for the electrical cable.


-
6 ft. (2 m) molded electrical cable for extra durability.

-
Safely recessed thermostat knob reduces heater size to a minimum.


-
High-limit temperature control with automatic reset.

Fan
-
Enclosed motor permanently lubricated (-MF model).

- Open motor permanently lubricated (-MO model).

Note: The open motor is not intended for use in a dusty environment. 


-
300 cfm fan.

Heating element
-
Helical coil nickel-chromium alloy wire protected by ceramic insulators.


-
Heating element provides instant heat.
Temperature rise
-
28 °C (51 °F).
Control
-
Built-in thermostat included.
Installation
-
Must be plugged into a grounded 3-pronged outlet, 30A, 240VAC.


Note: Always unplug heater when not is use.

Warranty
-
2-year warranty against defects (-MO model).


-
3-year warranty against defects (-MF model).

Application
-
Construction area, workshop, garage.
[image: image3.jpg]307 mm

228 mm

121/8"
 38mm 9"

—\/ \/— 112" ﬁ

ba
Heating ge
Element >()(]
)

309 mm O

Motor

RO
RADBERERNIG
L D
OB
LG

%

<>

Fan

12 RN %%gog%@g%g
Al
R URSBGORN

,9@9000@@0
000 OO
Thermostat — Qi
P e &L ]| ]





Models
	Product #
	Qty
	Watts
	Volts
	Motor Type
	Grounded

3-pronged outlet
	Weight

	
	
	
	
	
	
	lb
	kg

	OCC4800AM-MF-TB6
	
	4800/3600
	240/208
	Enclosed
	   30A, 240VAC
	16.0
	7.3

	OCC4800AM-MO-TB6
	
	4800/3600
	240/208
	Open
	30A, 240VAC
	16.0
	7.3


Standard color is almond.

Others

	Type
	Quantity
	Model and description

Complementary information
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact at Ouellet:
	

	Comments:


Grounded 3-pronged outlet








180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

