[image: image4.jpg]@DUELLET



[image: image4.jpg]

Approval Drawings

Series

OCE
European-Style Convector

[image: image1.jpg]


[image: image2.jpg]




Features

Color
-
Standard: white, almond. 

· Optional (upcharge applicable): metallic silver, bronze, metallic charcoal, 


aluminum, semi-gloss black, sand.

-
Custom colors available upon request.

Finish
-
Standard: epoxy/polyester powder paint.


-
Optional: stainless steel (only grilles are painted black).

Voltage
-
240/208V, 50/60 Hz, 1-phase.

Construction
-
20-gauge steel or 22-gauge stainless steel.


-
Warm air outlet that directs the air to the centre of the room.


-
Bar grilles prevent insertion of foreign objects; 
smooth-finish paint is washable and anti-yellowing.


-
High-limit temperature control with automatic reset.

Heating element
-
Quiet aluminum monoblock element.

Watt density
-
OCEH: 850W/ft. (2800W/m)

-
OCEM: 700W/ft. (2320W/m)


-
OCEB: 500W/ft. (1700W/m)
Control
-
Built-in electronic thermostat (-TH models) 



or built-in 24V electronic relay (-TRIAC and -TRIACT models).


-
Wall-mounted electronic thermostat (-OTH and -T600 models).

Installation
-
2 in. (51 mm) minimum clearance to ﬂoor.

-
The convector’s wall mounting bracket is connected to the power supply. 


-
Simply place the convector on the bracket to make it operational.

Warranty
-
5-year warranty against defects.


(The warranty is valid only if the heater is controlled by a proportional pulsing


electronic thermostat with a cycle of 15 seconds maximum and the junction box must be fixed to the wall with the supplied anchor.)
Application
-
Kitchen, living room, family room, bedroom, bay window, basement.
[image: image3.jpg]OCEH 635mm
o

OCEM 470mm
812"

ocEB 356mm
4

~ Pul Electrical Wiring
Through Here:

Front View

174 mm
6273:

448 mm
712"
24mm
972"

OCEH
ocEm

134mm  OCER
S

98 mm
378"

— [‘ Junction Box

T
|

= Bracket Hooks
Side View




Models 
	Product #
	Volts
	Watts
	Length
	Weight

	Non Programmable

Built-in

Thermostat1
	Qty
	Non Programmable

Wall-Mounted

Thermostat

Included2
	Qty
	Programmable

Wall-Mounted

Thermostat

Included2
	Qty
	
	
	in.
	mm
	lb
	kg

	OCEH  Height: 27” (685 mm) 850W/ft. (2800W/m)

	OCEH0500-TH
	
	OCEH0500-OTH
	
	OCEH0500-T600
	
	240/208
	500/375
	10 5/8
	270
	14.0
	6.4

	OCEH0750-TH
	
	OCEH0750-OTH
	
	OCEH0750-T600
	
	240/208
	750/563
	13 1/2
	344
	17.0
	7.7

	OCEH1000-TH
	
	OCEH1000-OTH
	
	OCEH1000-T600
	
	240/208
	1000/750
	16 1/2
	418
	19.0
	8.6

	OCEH1250-TH
	
	OCEH1250-OTH
	
	OCEH1250-T600
	
	240/208
	1250/938
	19 7/16
	492
	21.0
	9.5

	OCEH1500-TH
	
	OCEH1500-OTH
	
	OCEH1500-T600
	
	240/208
	1500/1125
	23
	584
	25.0
	11.4

	OCEH2000-TH
	
	OCEH2000-OTH
	
	OCEH2000-T600
	
	240/208
	2000/1500
	28 1/8
	714
	28.0
	12.7

	OCEH2500-TH
	
	OCEH2500-OTH
	
	OCEH2500-T600
	
	240/208
	2500/1875
	34
	862
	33.0
	15.0

	OCEH3000-TH
	
	OCEH3000-OTH
	
	OCEH3000-T600
	
	240/208
	3000/2250
	41 1/8
	1044
	39.0
	17.7

	OCEM Height: 18 1/2” (470 mm) 700W/ft. (2320W/m)

	OCEM0500-TH
	
	OCEM0500-OTH
	
	OCEM0500-T600
	
	240/208
	500/375
	13 1/2
	344
	13.0
	5.9

	OCEM0750-TH
	
	OCEM0750-OTH
	
	OCEM0750-T600
	
	240/208
	750/563
	16 1/2
	418
	15.0
	6.8

	OCEM1000-TH
	
	OCEM1000-OTH
	
	OCEM1000-T600
	
	240/208
	1000/750
	19 7/16
	492
	16.0
	7.3

	OCEM1250-TH
	
	OCEM1250-OTH
	
	OCEM1250-T600
	
	240/208
	1250/938
	23
	584
	19.0
	8.6

	OCEM1500-TH
	
	OCEM1500-OTH
	
	OCEM1500-T600
	
	240/208
	1500/1125
	26 1/2
	674
	21.0
	9.5

	OCEM1750-TH
	
	OCEM1750-OTH
	
	OCEM1750-T600
	
	240/208
	1750/1313
	30 5/16
	769
	23.0
	10.5

	OCEM2000-TH
	
	OCEM2000-OTH
	
	OCEM2000-T600
	
	240/208
	2000/1500
	34
	862
	25.0
	11.4

	OCEM2500-TH
	
	OCEM2500-OTH
	
	OCEM2500-T600
	
	240/208
	2500/1875
	41 1/8
	1044
	29.0
	13.2

	OCEM3000-TH
	
	OCEM3000-OTH
	
	OCEM3000-T600
	
	240/208
	3000/2250
	48 3/8
	1229
	34.0
	15.5

	OCEB Height: 14” (356 mm) 500W/ft. (1700W/m)

	OCEB0500-TH
	
	OCEB0500-OTH
	
	OCEB0500-T600
	
	240/208
	500/375
	19 7/16
	492
	13.0
	5.9

	OCEB0750-TH
	
	OCEB0750-OTH
	
	OCEB0750-T600
	
	240/208
	750/563
	23
	584
	15.0
	6.8

	OCEB1000-TH
	
	OCEB1000-OTH
	
	OCEB1000-T600
	
	240/208
	1000/750
	26 1/2
	674
	16.0
	7.3

	OCEB1250-TH
	
	OCEB1250-OTH
	
	OCEB1250-T600
	
	240/208
	1250/938
	34
	862
	20.0
	9.1

	OCEB1500-TH
	
	OCEB1500-OTH
	
	OCEB1500-T600
	
	240/208
	1500/1125
	36 3/8
	924
	22.0
	10.0

	OCEB1750-TH
	
	OCEB1750-OTH
	
	OCEB1750-T600
	
	240/208
	1750/1313
	41 1/8
	1044
	24.0
	10.9

	OCEB2000-TH
	
	OCEB2000-OTH
	
	OCEB2000-T600
	
	240/208
	2000/1500
	46 7/16
	1179
	26.0
	11.8

	OCEB2500-TH
	
	OCEB2500-OTH
	
	OCEB2500-T600
	
	240/208
	2500/1875
	62 3/16
	1579
	35.0
	15.9

	OCEB3000-TH
	
	OCEB3000-OTH
	
	OCEB3000-T600
	
	240/208
	3000/2250
	69 5/16
	1760
	38.0
	17.3


Options
	Product # 

Kit
	Product # 

Factory installed*
	Description
	Qty

	KIT-OCE-AV
	-
	Tamperproof device
	

	KIT-OCE-TRIAC-3473
	TRIAC3
	Single-pole electronic relay, coil 24V, without transformer, 15A at 347V max.
	

	KIT-OCE-TRIAC-347T3
	TRIACT3
	Single-pole electronic relay, coil 24V, with transformer: 15A at 208V, 240V, 347V
	


* For factory installed options, add the option number to the product number. See the Product Code section inside the front cover. 

1 Almond product comes with almond built-in thermostat.

2 Wall-mounted thermostat is white.

3 Do not install a built-in thermostat with these options. Wall-mounted thermostat not included.

Add "BL" for white, "AM" for almond and "SS" for stainless steel. For stainless steel models, only the grille are black painted.

The OCE warranty is valid only if the heater is controlled by a proportional electronic pulsing line thermostat with a cycle of 15 seconds maximum and the junction box must be fixed to the wall with the supplied anchor.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Eectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

