[image: image1.emf][image: image3.jpg]Front View

147mm
513/16"
315/16" 1

54
23 mm 21/8"
78"

1254 mm
415/16"

346.8mm T
135/8"
316.8mm
12172

Top View

Side View

Watts | L(mm) | L(in)
500W | 457.0 18

750W | 527.5 | 203/4
1000W | 598.0 | 239/16
1250W | 6685 |265/16
1500W | 739.0 | 29116
1750W | 8095 | 317/8
2000W | 880.0 | 3458






Approval Drawings

Series

OCT
Contemporary Convector

[image: image4.jpg]@DUELLET



[image: image2.jpg]




Features

Color
-
Standard: white, metallic charcoal. 

· Optional (upcharge applicable): almond, metallic silver, bronze,  


aluminum, semi-gloss black, sable.

-
Custom colors available upon request.

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
240/208V, 50/60 Hz, 1-phase.

Construction
-
20-gauge steel.


-
Warm air outlet that directs the air to the centre of the room.


-
Bar grilles prevent insertion of foreign objects; 
smooth-finish paint is washable and anti-yellowing.


-
High-limit temperature control with automatic reset.

Heating element
-
2 quiet aluminum monoblock elements.

Watt density
-
700W/ft. (2320W/m).
Control
-
Built-in non programmable electronic thermostat (-THO models).
Installation
-
4 in. (102 mm) minimum clearance to ﬂoor and from an adjacent wall.

-
Quick surface-mounted installation, with the included wall mounting bracket.    
Warranty
-
5-year warranty against defects.



(The warranty is valid only if the heater is controlled by a proportional pulsing



electronic thermostat with a cycle of 15 seconds.)
Application
-
Kitchen, living room, family room, bedroom, basement.

Models 
	Product #
	Volts
	Watts
	Length
	Weight

	Without Thermostat1
	Qty
	Non Programmable

Integrated

Thermostat
	Qty
	
	
	in.
	mm
	lb
	kg

	OCT0500
	
	OCT0500-THO
	
	240/208
	500/375
	18
	457
	13
	6

	OCT0750
	
	OCT0750-THO
	
	240/208
	750/563
	20 3/4
	527.5
	15.5
	7

	OCT1000
	
	OCT1000-THO
	
	240/208
	1000/750
	23 9/16
	598
	16.7
	7.6

	OCT1500
	
	OCT1500-THO
	
	240/208
	1500/1125
	29 1/16
	739
	20
	9.1

	OCT2000
	
	OCT2000-THO
	
	240/208
	2000/1500
	34 5/8
	880
	24
	10.9


1The OCT warranty is valid only if the heater is controlled by a proportional electronic pulsing line thermostat with a cycle of 15 seconds maximum.
Add "BL" for white, "CM" metallic charcoal.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	Specifications may change without prior notice

Project:
	Approval

Information

	Consultant Engineer:
	

	Eectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

