[image: image1.png]




Approval Drawings

Series

OFE-C
Comfort Electric Furnace


[image: image4.jpg]@DUELLET



  [image: image2.jpg]




Features
Finish
-
Non-painted galvanized steel. 
Voltage
-
240/208V, 1-phase.
Construction
-
Robust galvanized steel casing, all insulated for reduced heat loss and noise.

-
One panel on casing provides access to internal parts.
Fan
-
High quality precision balanced blower for quiet operation and optimal performance.

Motor
-
Standard motor (PSC), permanently lubricated and rubber mounted for maximum vibration and noise reduction.

-
Relay and printed circuit board (PCB) control automatic operation of motor and allow for the addition of air conditioning or heat pump.
Heating element
-
Heavy duty, reliable 4kW and 5kW Helical coil nickel-chromium alloy wire provide superior heat transfer with unrestricted air flow.

· Heating elements can be individually replaced.
· High-limit temperature control with automatic reset.
· Elements modulation is done by a low voltage printed circuit board to prevent power surges.

Control
-
Heavy duty 24VAC transformer provides power to relays and controls.


-
Built-in breakers with manual reset.

-
Compatible with 1 or 2-stage thermostat with or without external unit.


-
A 120V terminal block also permits installation of accessories such as humidifier and electronic filter (maximum 2A).

Installation
-
Multi-position installation, sides, back, or bottom air returns.

· Approved for zero clearance installation against combustible surfaces.

· Models with Standard Motor (PSC): Installation is forbidden outside Quebec.
Warranty
-
5-year warranty against defects.
Application
-
For cottages, homes or offices, also approved for mobile homes use. May be installed in a basement, closet, crawl space or any unused area or alcove.

[image: image3.png]927
36

mm
172"

Right Side View

KOE

Identical on the 2 sides

Identical on the 2 sides,

RETURN
483mm x 483mm
19" x 19"

the back and below.

451
17

mm
3/4"

451 mm
17 3/4"

Top View
559 mm

JE—

22" 25mm

-Ill -

e

t

pUN

b o

508mm x 508mm
20" x 20"

LSmm

'
559 mm





Models with Standard Motor (PSC) 1
	Product #
	Volts (1 ph) 

2 wires
	kW (BTU/hr)
	Amp including motor
	Motor 

HP
	Static Pressure at 0.5" W.C.
	Weight
	Qty

	
	
	
	
	
	Motor Speed2
	cfm3
	lb
	kg
	

	OFEC100001
	240/208
	10.0 (34120) / 7.5 (25628)
	44.0 / 38.2
	1/3
	Low
	595
	105
	48
	

	OFEC150001
	240/208
	15.0 (51180) / 11.3 (38442)
	64.7 / 56.1
	1/3
	Low
	595
	105
	48
	

	OFEC180001
	240/208
	18.0 (61420) / 13.5 (46130)
	78.4 / 68.0
	1/3
	Low
	595
	105
	48
	

	OFEC200001
	240/208
	20.0 (68240) / 15.0  (51256)
	85.4 / 74.1
	1/3
	Low
	595
	105
	48
	


Options
	Product  #

Kit 
	Description
	Qty

	OFE-SO2
	Downflow base
	

	OFE-AK2
	Adaptor kit for 17 in. x 17 in. duct
	


1 Installation is forbidden outside Quebec.

2 Factory settings.

3 Refer to the installation instructions and owner’s manual for complete air flow tables.

Wall Controls

Compatible with any low voltage thermostat.
Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

