[image: image1.jpg]




Approval Drawings

Series

OPR
Heavy-Duty Steel Draft Barrier

[image: image4.jpg]@DUELLET



[image: image2.jpg]




Features

Color
-
Standard: white, almond. 

-
Optional (upcharge applicable): metallic silver, bronze, metallic charcoal, 
aluminum, semi-gloss black, sand.

-
Custom colors available upon request.

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
120V, 208V, 240/208V, 277V, 347V, 480V, 600V, 1-phase.

Construction
-
16-gauge steel front.


-
18-gauge steel cabinet.


-
Full length built-in wireway.


-
Interior parts protected by a louvre grille. 


-
Pencil-proof openings less than 1/4 in. (6.4 mm).


-
Clean back available (-BD).


-
Linear high-limit temperature control with automatic reset.

Heating element
-
Stainless steel tubular heating element with aluminum ﬁns.

-
Floating heating element on high-temperature nylon bushings 
reducing expansion noises.

Watt density
-
Average standard watt density of 275W/ft. 


-
Average low watt density of 100W/ft., 150W/ft., 200W/ft.
Control
-
Built-in thermostat available with a control knob 



or tamperproof (installed on the left end only).


-
Mechanical or electronic relays available (installed on the left end only).


Ouellet highly recommends to use an electronic wall thermostat for greater comfort.
Installation
-
Not for residential use in the United States.

-
Wall or ﬂoor mounted installation.

-
Mounting holes spaced at 2 in. (51 mm) intervals for ease of installation.


-
Variety of accessories available for wall-to-wall installation.


-
Pedestal kit available.

Warranty
-
1-year warranty against defects.

Application
-
Commercial building, office building, hospital, daycare center, penal institution.

[image: image3.emf]








Average Standard Watt Density Models 275W/ft. 
	Watts
	Watts

240/208V1
	Product #
	Length
	Weight

	
	
	120V
	Qty
	208V
	Qty
	240/208V
	Qty
	277V
	Qty
	480V
	Qty
	in.
	mm
	lb
	kg

	300
	300/225
	OPR0302
	
	OPR0308
	
	OPR0300
	
	-
	-
	-
	-
	20 9/16
	522
	10.4
	4.7

	500
	500/375
	OPR0502
	
	OPR0508
	
	OPR0500
	
	OPR0577
	
	-
	-
	25 1/2
	647
	14.0
	6.4

	750
	750/563
	OPR0752
	
	OPR0758
	
	OPR0750
	
	OPR0777
	
	OPR0754
	
	35 1/2
	901
	20.0
	9.1

	1000
	1000/750
	OPR1002
	
	OPR1008
	
	OPR1000
	
	OPR1077
	
	OPR1004
	
	45 3/4
	1162
	26.0
	11.8

	1250
	1250/938
	OPR1252
	
	OPR1258
	
	OPR1250
	
	OPR1277
	
	OPR1254
	
	55 1/4
	1403
	32.0
	14.6

	1500
	1500/1125
	OPR1502
	
	OPR1508
	
	OPR1500
	
	OPR1577
	
	OPR1504
	
	63 15/16
	1624
	37.0
	16.8

	1750
	1750/1313
	-
	-
	OPR1758
	
	OPR1750
	
	OPR1777
	
	OPR1754
	
	73 1/4
	1861
	43.0
	19.6

	2000
	2000/1500
	-
	-
	OPR2008
	
	OPR2000
	
	OPR2077
	
	OPR2004
	
	82 1/16
	2084
	47.5
	21.6

	2250
	2250/1688
	-
	-
	OPR2258
	
	OPR2250
	
	OPR2277
	
	OPR2254
	
	90 15/16
	2309
	53.5
	24.3

	2500
	2500/1875
	-
	-
	OPR2508
	
	OPR2500
	
	OPR2577
	
	OPR2504
	
	100
	2541
	58.4
	26.6


Average Low Watt Density Models

	Product #2
	Length
	Weight
	Average

Density

W/pi
	Watts
	Watts

240/208V1
	120V
	Qty
	208V
	Qty
	240/

208V
	Qty
	277V
	Qty
	480V
	Qty

	OPR020X-647
	25 1/2"

(647 mm)
	14.0 lb
(6.4 kg)
	100
	200
	200/150
	(
	
	(
	
	(
	
	-----
	-----
	-----
	-----

	OPR030X-647
	
	
	150
	300
	300/225
	(
	
	(
	
	(
	
	-----
	-----
	-----
	-----

	OPR040X-647
	
	
	200
	400
	400/300
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR030X-901
	35 1/2"

(901 mm)
	20.0 lb
(9.1 kg)
	100
	300
	300/225
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR045X-901
	
	
	150
	450
	450/338
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR060X-901
	
	
	200
	600
	600/450
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR040X-1162
	45 3/4"

(1162 mm)
	26.0 lb
(11.8 kg)
	100
	400
	400/300
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR060X-1162
	
	
	150
	600
	600/450
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR080X-1162
	
	
	200
	800
	800/600
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR050X-1403
	55 1/4"

(1403 mm)
	32.0 lb
(14.6 kg)
	100
	500
	500/375
	(
	
	(
	
	(
	
	(
	
	-----
	-----

	OPR075X-1403
	
	
	150
	750
	750/563
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR100X-1403
	
	
	200
	1000
	1000/750
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR060X-1624
	63 15/16"

(1624 mm)
	37.0 lb
(16.8 kg)
	100
	600
	600/450
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR090X-1624
	
	
	150
	900
	900/675
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR120X-1624
	
	
	200
	1200
	1200/900
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR070X-1861
	73 1/4"

(1861 mm)
	43.0 lb
(19.6 kg)
	100
	700
	700/525
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR105X-1861
	
	
	150
	1050
	1050/788
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR140X-1861
	
	
	200
	1400
	1400/1050
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR080X-2084
	82 1/16"

(2084 mm)
	47.5 lb
(21.6 kg)
	100
	800
	800/600
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR120X-2084
	
	
	150
	1200
	1200/900
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR160X-2084
	
	
	200
	1600
	1600/1200
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR090X-2309
	90 15/16"

(2309 mm)
	53.5 lb
(24.3 kg)
	100
	900
	900/675
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR135X-2309
	
	
	150
	1350
	1350/1013
	-----
	-----
	(
	
	(
	
	(
	
	(
	

	OPR180X-2309
	
	
	200
	1800
	1800/1350
	-----
	-----
	(
	
	(
	
	(
	
	(
	

	OPR100X-2541
	100"

(2541 mm)
	58.4 lb
(26.6 kg)
	100
	1000
	1000/750
	(
	
	(
	
	(
	
	(
	
	(
	

	OPR150X-2541
	
	
	150
	1500
	1500/1125
	-----
	-----
	(
	
	(
	
	(
	
	(
	

	OPR200X-2541
	
	
	200
	2000
	2000/1500
	-----
	-----
	(
	
	(
	
	(
	
	(
	


1 208V = 75% of wattage at 240V.
2 X = 2 (120V), 8 (208V), 0 (240/208V), 77 (277V), 7 (347V), 4 (480V), 6 (600V).

( = Available.

Add "BL" for white, "AM" for almond.
Other colors, accessories and finishes are available upon request. Please contact your customer service representative.

Other voltages available upon request.

Options
	Product # 

Kit
	Product # 

Factory installed*
	Description
	Qty

	Finish
	
	
	

	-
	BD
	Clean back
	

	KIT-OPR-BR
	-
	Relay section, 5 in. (127 mm)
	

	KIT-OPR-CE
	-
	Outside corner, 5 in. (127 mm)
	

	KIT-OPR-CI
	-
	Inside corner, 5 in. (127 mm)
	

	KIT-OPR-JT
	-
	Splice plate, 3 1/8 in. (80 mm)
	

	KIT-OPR-PE
	-
	Round pedestal kit (2), 3 in. (76 mm)
	

	KIT-OPR-PEC
	-
	Square-shape pedestal kit (2), 3 in. (76 mm)
	

	OPR-SV-XX
	-
	Empty cabinet length of XX mm (minimum: 154 mm, maximum: 2541 mm)
	

	Controls
	
	
	

	KIT-OPR-R-347
	R
	Single-pole relay, coil 24V, without transformer: 22A at 120V, 208V, 240V - 19A at 277V - 18A at 347V
	

	KIT-OPR-R-600
	R
	Single-pole relay, coil 24V, without transformer, 12.5A at 480V, 10A at 600V
	

	KIT-OPR-RT-120
	RT
	Single-pole relay, coil 24V, with transformer 120V/24V, 22A at 120V 
	

	KIT-OPR-RT-208
	RT
	Single-pole relay, coil 24V, with transformer 208V/24V, 22A at 208V
	

	KIT-OPR-RT-240
	RT
	Single-pole relay, coil 24V, with transformer 240V/24V, 22A at 240V
	

	KIT-OPR-RT-277
	RT
	Single-pole relay, coil 24V, with transformer 277V/24V, 19A at 277V
	

	KIT-OPR-RT-347
	RT
	Single-pole relay, coil 24V, with transformer 347V/24V, 18A at 347V
	

	KIT-OPR-RT-6001
	RT1
	Single-pole relay, coil 24V, with transformer 600V/24V, 10A at 600V (2 wire only)
	

	KIT-OPR-T
	T
	Single-pole thermostat: 30A at 120V, 208V, 240V - 15A at 277V, 347V, 600V
	

	KIT-OPR-T22
	T22
	Double-pole thermostat: 30A at 120V, 208V, 240V - 15A at 277V, 347V, 600V
	

	KIT-OPR-T-AV
	TAV
	Single-pole tamperproof thermostat: 30A at 120V, 208V, 240V - 15A at 277V, 347V, 600V
	

	KIT-OPR-T2-AV2
	T2AV2
	Double-pole tamperproof thermostat : 30A à 120V, 208V, 240V - 15A à 277V, 347V, 600V
	

	KIT-OPR-TRIAC-347
	TRIAC
	Single-pole electronic relay, coil 24V, without transformer, 15A at 347V max.
	

	KIT-OPR-TRIAC-347T
	TRIACT
	Single-pole electronic relay, coil 24V, with transformer: 15A at 208V, 240V, 277V, 347V
	

	KIT-OPR-TRIAC-600
	TRIAC
	Single-pole electronic relay, coil 24V, without transformer, 6A at 600V max.
	


* For factory installed options, add the option number to the product number. See the Product Code section inside the front cover. 

1 These 2-wire relays with transformer can't supply of 3-wire low voltage thermostats.

2 "Off" position.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Eectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

