[image: image1.png]All models

40.3/605/79.8in.
(1026 /1536 /2026mm)

41.3/614/807in.

08in.
(201

8.
(210mm)

Odin.
(1050 /1560 /2050mm) (10mm)
min 197in. 6.2in.
(min 500mm) (157mm)
[0 iy
65in. i
(165mm)
8 H
16in.
(40mm)
Cuo06in-
(015mm) L1 200in. (s3mm)
78.7in. (2m) units
Unitwithoutheating 5, min 19.7in. min 19.7in. 62in.
(157mm) (min 500mm) (min 500mm) (157mm)
I 1
72in. { H
(184mm) !
09in. (22mm)
Cu 0 06in. (015mm) L 1.57in. (40mm)
280
71mm)
Unit with electrical heating - - )
62in. min 197in. min 19.7in. 6.2in.
157m (min 500mm) (min 500mm) 157mim)

1

©0.6in. (615mm)
m) / smooth copper pipe

T 136in.
(345mm)

Minimum distances

722

130 24in.
@omm) (6omm)

Minimum distance from outlet
to floor for electrically heated units
is 71in. (1800mm).



[image: image2.png]


[image: image3.png]




Approval Drawings

Series
ORA-EC22
Air curtain for small entrances


Features
Model
-
Electric heat.

-
No heat.
Color
-
Stainless steel housing: white (RAL 9016, NCS S 0500-N).

-
Grille, rear face and ends grey (RAL 7046).

-
Custom colors available upon request (RAL Chart).
Voltage
-
208V, 480V, 600V, 60 Hz.
Motor
-
Very low operating costs can be achieved thanks to the combination of EC motors and Frico's unique fan geometry.
Construction
-
Quick access to internal components via the maintenance hatch.
· High-limit temperature control with automatic reset.
· Integrated transformer for motor and control circuit (480V and 600V models).
Fan
-
Squirrel-cage fans.
Element
-
Element provides instant heat (electric heat model).
Control
-
Integrated control system and additional easy to use remote control.
· Door switch included.
Installation
-
Maximum height installation: 7.2 ft. (2.2 m) above the floor.

- Suspended mounting:

- With pendulum brackets included: 

  
 4 brackets for 1m and 1.5m models and 6 brackets for 2m models.


- With threaded rods (not included).
Note: The recommended installation height may vary according to the installation conditions. Air curtains must be placed as near to the entrance as possible and cover the entire width.

Warranty
-
5-year warranty against defects.
Certification
-
CAN/CSA-E60335-2-30:13 (R2018).
· UL 2021 Ed. 4.0.
· Protection class for units with electrical heating: IP20.
· Protection class for units without heating: IP21.
Application 
- 
Small entrances, vestibule, commercial building, lobby, service door, hospital, store entrance, drive-through, service counters.
[image: image4.jpg]@DUELLET




Models
	Product #
	Qty
	Volts (ph)
	Heat Output

kW

Lo/Hi
	Input Power Motor
	Amp.
	cfm
	dBA2
	Effective air width
	Weight

	
	
	
	
	HP
	
	
	
	in.
	mm
	lb
	kg

	Surface-mounted

	Electric Heat (IP20)

	PAEC2210CE05-600VNA
	
	600 (3)
	3.3/5
	1/8
	5.4
	765
	70
	30.6
	777.24
	42.1
	19.1

	PAEC2215CE08-600VNA
	
	600 (3)
	4/8
	1/8
	8.6
	1265
	72
	50.7
	1287.78
	61.9
	28.1

	PAEC2220CE10-600VNA
	
	600 (3)
	5/10
	1/8
	10.6
	1471
	73
	67.4
	1711.96
	79.6
	36.1

	PAEC2210CE05-480VNA
	
	480 (3)
	3.3/5
	1/8
	6.6
	765
	70
	30.6
	777.24
	41.4
	18.8

	PAEC2215CE08-480VNA
	
	480 (3)
	4/8
	1/8
	10.5
	1265
	72
	50.7
	1287.78
	61.3
	27.8

	PAEC2220CE10-480VNA
	
	480 (3)
	5/10
	1/8
	13
	1471
	73
	67.4
	1711.96
	78.9
	35.8

	PAEC2210CE04-208VNA
	
	208 (3)
	2.7/4.1
	1/8
	11.9
	765
	70
	30.6
	777.24
	37.5
	17.0

	PAEC2215CE07-208VNA
	
	208 (3)
	3.2/6.5
	1/8
	18.9
	1265
	72
	50.7
	1287.78
	57.3
	26.0

	PAEC2220CE08-208VNA
	
	208 (3)
	4.1/8.1
	1/8
	23.5
	1471
	73
	67.4
	1711.96
	75
	34.0

	No Heat (IP21)

	PAEC2210CA-NA
	
	208 (1)
	-
	-
	0.6
	765
	70
	30.6
	777.24
	35.3
	16.0

	PAEC2215CA-NA
	
	208 (1)
	-
	-
	0.9
	1265
	72
	50.7
	1287.78
	52.9
	24.0

	PAEC2220CA-NA
	
	208 (1)
	-
	-
	1.0
	1471
	73
	67.4
	1711.96
	70.5
	32.0


To order any custom colors from the R.A.L. chart, add “SP”’ at the end of the Product # and specify RAL color # on the order. Contact our customer service department for lead times.

Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice
	Project:
	Approval

Information

	Consultant Engineer:
	

	ELectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3rd Avenue, L’Islet (Quebec)  G0R 2C0  CANADA • Phone: 1-800-463-7043 • (418) 247-3947 • Fax: 1-800-662-7801 • (418) 247-7801 • www.ouellet.com • info@ouellet.com

