[image: image4.jpg]@DUELLET



[image: image4.jpg]

Approval Drawings

Series

ORC
Radiant Cove Heater

[image: image1.emf]







[image: image2.jpg]




Features

Color and Finish
-
Standard: white, mat black and anodized aluminum finish.
Voltage
-
120V, 208V, 240V, 277V, 347V, 480V, 600V, 50/60 Hz.

Construction
-
Front made of an aluminum extrusion profiled to increase radiating surface.


-
Back of the unit made with 18-gauge steel.

-
Junction box on each end.


-
Wall installation brackets (supplied) that doesn’t require opening the unit’s casing.

-
KOE 7/8 in. (22 mm) for the installation of the BX wires.

-
4 in. (102 mm) ground wires on both ends.

-
Wireway approved for interconnection of units using the factory installed additional wires. This is used in wall-to-wall heater installation.

-
Highly-emissive paint on the heat exchanger for higher efficiency.
Heating element
-
Stainless steel tubular heating element inserted into a solid aluminum extrusion



preventing any thermal expansion noise.

Watt density
-
150W/ft.
Control
-
Single or double-pole built-in thermostat available.

Ouellet highly recommends to use an electronic wall thermostat for greater comfort.

Installation
-
6 ft. (1.83 m) minimum clearence to ﬂoor and 4 1/2 in. (114 mm) 




minimum from ceiling.


-
Variety of accessories available for wall-to-wall installation.

Warranty
-
1o-year warranty against defects. 

Application
-
Entrance way, bathroom, kitchen, living room, family room, bedroom, patio door, 




bay window, daycare, nursery, workshop.
[image: image3.emf]








Models
	Watts
	Product #
	Weight
	Length

	
	120V
	Qty
	208V
	Qty
	240V
	Qty
	347V
	Qty
	600V
	Qty
	lb
	kg
	in.
	mm

	450
	ORC0452
	
	ORC0458
	
	ORC0450
	
	ORC0457
	
	-
	-
	6.0
	2.7
	34
	864

	600
	ORC0602
	
	ORC0608
	
	ORC0600
	
	ORC0607
	
	-
	-
	8.0
	3.6
	47
	1194

	750
	ORC0752
	
	ORC0758
	
	ORC0750
	
	ORC0757
	
	ORC0756
	
	10.0
	4.5
	59
	1499

	900
	ORC0902
	
	ORC0908
	
	ORC0900
	
	ORC0907
	
	ORC0906
	
	12.0
	5.4
	71
	1803

	1050
	ORC1052
	
	ORC1058
	
	ORC1050
	
	ORC1057
	
	ORC1056
	
	13.0
	5.9
	83
	2108

	1200
	ORC1202
	
	ORC1208
	
	ORC1200
	
	ORC1207
	
	ORC1206
	
	15.0
	6.8
	94
	2388

	15001
	ORC1502
	
	ORC1508
	
	ORC1500
	
	ORC1507
	
	ORC1506
	
	18.0
	8.2
	113
	2870


Options
	Product # 

Kit
	Product # 

Factory installed*
	Description
	Qty

	KIT-ORC-JT
	-
	Splice plate
	

	KIT-ORC-TB62
	TB62
	Single-pole bi-metal thermostat
	 

	KIT-ORC-TB262, 3
	TB262, 3
	4 in. (101 mm) section with double-pole bi-metal thermostat
	


* For factory installed options, add the option number to the product number. See the Product Code section inside the front cover. 

1 These models must be ordered in pairs to reduce shipping damages.

2 Ouellet highly recommends to use an electronic wall thermostat for greater comfort.

3 "Off" position.

Add "BW" for white, "NM" for mat black and "AA" for anodized aluminum finish.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	ELectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

