[image: image2.jpg]


[image: image3.jpg][

\V E— D)

A /A



[image: image4.jpg]305 mm

12"

1

O

PR TTITHIIT

220 mm
821/32"

237 mm
95/16"

Electrical
Inlet

259 mm
103/16"

11/32" 167 mm
619/32"

Electrical
Inlet





Approval Drawings

Series

OSM-AD
AirDuo Hand and Hair Dryer 
[image: image5.jpg]@DUELLET







Features

Color
-
Standard: white. 

Finish
-
Standard: epoxy paint.

Voltage
-
120V, 240/208V, 1-phase.

Construction
-
Die cast aluminum housing.


-
360° revolving die cast aluminum nozzle finished in bright chrome plating. Nozzle can be locked to fixed position in the field.
Fan
-
Brushless type motor, thermally protected, operating at 3200 rpm.

· Delivers 148 cfm of air volume and 4700 lfm of air velocity (74 dBA with hands).

Heating element
-
Helical coil nickel-chromium alloy wire protected by mica insulator.
Control
-
Pushbutton with micro-switch activated timer. Time cycle setting can be adjusted in the field from 15 seconds to 3 minutes.  
Installation
-
Surface-mounted with security screws to prevent vandalism (tool supplied).

Warranty
-
5-year warranty against defects.

Application
-
School, gymnasium, health center, pool.
Front View
Side View
Rear View

Models
	Product # 
	Qty
	Volts
	Watts
	Weight

	
	
	
	
	lb
	kg

	OAD1802BL
	
	120
	1800
	18.0
	8.2

	OAD1800BL
	
	240/208
	1800/1350
	18.0
	8.2


Standard color is white.

Others

	Type
	Quantity
	Model et description

Complementary information
	Volts
	Phase
	Watts
	Length

mm/in.
	Information
Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


[image: image1.jpg]



180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

