Series

OSM-SD	SMARTdriTM Plus Versatile Hand Dryer

Features

Color	-	Standard: white.

-	Optional: black, brushed stainless steel.

Voltage	-	120V, 240/208V, 1-phase.

Construction	-	Die cast aluminum housing.

Sound level	-	73 to 85 dBA with hands.

Heating element	-	Helical coil nickel-chromium alloy wire protected by mica insulator.

Control	-	3 speeds motor settings and on/off heating option.

Installation	-	Surface-mounted.

Warranty	-	5-year warranty against defects.

Models

| Product # | Qty | Color | Watts | Volts | Weight |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | lb | kg |
| K-974P |  | White | 400-1200 | 120 | 11.6 | 5.2 |
| K4-974P |  | White | 425-1250 | 240/208 | 11.6 | 5.2 |
| K-162P |  | Black | 400-1200 | 120 | 11.6 | 5.2 |
| K4-162P |  | Black | 425-1250 | 240/208 | 11.6 | 5.2 |
| K-973P |  | Stainless steel | 400-1200 | 120 | 14.2 | 6.4 |
| K4-973P |  | Stainless steel | 425-1250 | 240/208 | 14.2 | 6.4 |

### Others

| Type | Quantity | Model et description Complementary information | Volts | Phase | Watts | Length mm/in. | Information Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |