[image: image1.png]


[image: image3.jpg]@DUELLET



[image: image3.jpg]

Approval Drawings

 Series

OVO
Residential Wall Fan Heater
[image: image4.jpg]



[image: image5.emf]









Features

Color
-
Standard: white.
· Optional: almond and mat black for select options.
Finish
-
Standard: epoxy/polyester powder paint.
Voltage
-
120V, 208V, 240/208V, 1-phase.

Construction
-
22-gauge steel cabinet, 20-gauge steel grille.


-
High-limit temperature control with manual reset.


- 
Additional one-time thermal fuse.
Fan
-
Quiet fan.


Heating element
-
Nichrome heating element provides instant heat.

Control
-
Built-in double-pole thermostat (-T2 models).


-
Built-in double-pole thermostat and timer (-T2M models).


-
Built-in thermostat kit available.
- 
Wall thermostat (not included, the use of an electronic thermostat is strongly 

recommended).


 
Note: If an electronic wall-mounted thermostat is used, it must be compatible with forced-air heaters.
- 
Controls located at the top of the unit.
Installation
-
6 in. (150 mm) minimum clearance to ﬂoor or any adjacent surfaces.

- Back box (wall can) is available for installation during wall construction and the 



Heater Assembly Only and the grille can be installed after walls are finish.

-
May be recessed or surface-mounted with optional surface mounting box.

 - Quick and easy installation easily retrofits most popular models.

- 
Wattage can be selected onsite.
Warranty
-
5-year warranty.
Application
-
Kitchen, family room, bathroom (model with timer and thermostat), entrance way, office.
[image: image2.png]314 mm
12 3/8"

230 mm
91/16"

Front View

152 mm
6" MIN

j

251rr|3m L
ﬂ—__:l
'\‘
L

100 mm
315/16"

79 mm
31/8"

-

21T mm
——
13/16"

Side View

54 mm

21/8"

Bottom View

2X 21T mm
13/16"




Models 

	Product #
	Volts
	Watts1
	BTU/hr
	Weight

	Without

thermostat2
	Qty
	Built-in

thermostat
	Qty
	Built-in

thermostat and timer
	Qty
	
	
	
	lb
	kg

	Complete Unit White

	OVOU1002BL
	
	OVOU1002BL-T2
	
	OVOU1002BL-T2M
	
	120
	1000 or 500
	3413 or 1706
	7.4
	3.4

	OVOU1502BL
	
	OVOU1502BL-T2
	
	OVOU1502BL-T2M
	
	120
	1500 or 750
	5119 or 2560
	7.4
	3.4

	OVOU1008BL
	
	OVOU1008BL-T2
	
	OVOU1008BL-T2M
	
	208
	1000 or 500
	3413 or 1706
	7.4
	3.4

	OVOU2008BL
	
	OVOU2008BL-T2
	
	OVOU2008BL-T2M
	
	208
	2000 or 1000
	6825 or 3413
	7.4
	3.4

	OVOU1000BL
	
	OVOU1000BL-T2
	
	OVOU1000BL-T2M
	
	240/208
	1000/750 or 500/375
	3413/2560 or 1706/1280
	7.4
	3.4

	OVOU1500BL
	
	OVOU1500BL-T2
	
	OVOU1500BL-T2M
	
	240/208
	1500/1125 or 750/560
	5119/3839 or 2560/1911
	7.4
	3.4

	OVOU2000BL
	
	OVOU2000BL-T2
	
	OVOU2000BL-T2M
	
	240/208
	2000/1500 or 1000/750
	6825/5119 or 3413/2560
	7.4
	3.4

	Heater Assembly Only3 – Must be installed with back box (wall can) and grille available in Options 

	OVOU1002-HAO
	
	OVOU1002-T2-HAO
	
	OVOU1002-T2M-HAO
	
	120
	1000 or 500
	3413 or 1706
	4.2
	1,9

	OVOU1502-HAO
	
	OVOU1502-T2-HAO
	
	-
	
	120
	1500 or 750
	5119 or 2560
	4.2
	1.9

	OVOU1008-HAO
	
	OVOU1008-T2-HAO
	
	-
	
	208
	1000 or 500
	3413 or 1706
	4.2
	1.9

	OVOU2008-HAO
	
	OVOU2008-T2-HAO
	
	-
	
	208
	2000 or 1000
	6825 or 3413
	4.2
	1.9

	OVOU1000-HAO
	
	OVOU1000-T2-HAO
	
	OVOU1000-T2M-HAO
	
	240/208
	1000/750 or 500/375
	3413/2560 or 1706/1280
	4.2
	1.9

	OVOU1500-HAO
	
	OVOU1500-T2-HAO
	
	OVOU1500-T2M-HAO
	
	240/208
	1500/1125 or 750/560
	5119/3839 or 2560/1911
	4.2
	1.9

	OVOU2000-HAO
	
	OVOU2000-T2-HAO
	
	OVOU2000-T2M-HAO
	
	240/208
	2000/1500 or 1000/750
	6825/5119 or 3413/2560
	4.2
	1.9


Standard color for complete unit is white.
Heater assembly must be installed with compatible back box (KIT-OVO-BB (-10)) and grill (KIT-OVO(-T2M)-GRIXX (-10)).

1 Wattage can be selected onsite.

2 Requires non pulsing wall-mounted thermostat. Please refer to the Wall Thermostats Reference Chart at the end of the catalog.

3 Heater Assembly Only (-HAO) available for United States market only.

Options
	Product # 

Kit
	Description
	Qty

	KIT-OVO-BB
	Back box (wall can)
	

	KIT-OVO-BB-10
	Back box (wall can) 10-pack
	

	White (BL)
	
	

	KIT-OVO-AP1BL
	Wall adapter plate 18 1/2'' x 22'' white
	

	KIT-OVO-AP3BL
	Wall adapter plate 12'' x 21 1/4'' white
	

	KIT-OVO-BSBL
	Surface mounting box for OVO and OVOS white
	

	KIT-OVO-GRIBL
	Grille OVO white
	

	KIT-OVO-GRIBL-10
	Grille OVO white 10-pack
	

	KIT-OVO-T2M-GRIBL
	Grille OVO-T2M white
	

	KIT-OVO-T2M-GRIBL-10
	Grille OVO-T2M white 10-pack
	

	KIT-OVO-T1BL
	Single-pole thermostat, 120V-600V white
	

	KIT-OVO-T2BL
	Double-pole thermostat, 120V-277V white
	

	Almond (AM)
	
	

	KIT-OVO-AP1AM
	Wall adapter plate 18 1/2'' x 22'' almond
	

	KIT-OVO-AP3BAM
	Wall adapter plate 12'' x 21 1/4'' almond
	

	KIT-OVO-BSAM
	Surface mounting box for OVO
	

	KIT-OVO-GRIAM
	Grille OVO without thermostat, almond
	

	KIT-OVO-GRIAM-10
	Grille OVO without thermostat, almond 10-pack
	

	Mat black (NM)
	
	

	KIT-OVO-AP1NM
	Wall adapter plate 18 1/2'' x 22'' mat black
	

	KIT-OVO-AP3BNM
	Wall adapter plate 12'' x 21 1/4'' mat black
	

	KIT-OVO-BSNM
	Surface mounting box for OVO
	

	KIT-OVO-GRINM
	Grille OVO, without thermostat mat black
	

	KIT-OVO-GRINM-10
	Grille OVO, without thermostat mat black 10-pack
	


Available colors for options are white, almond and mat black. Upcharge for almond and mat black.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

