[image: image1.png]] [

1 [

Dovmaer




[image: image3.jpg]@DUELLET



[image: image3.jpg]

Approval Drawings

Series

OVOH
Horizontal Wall Fan Heater
[image: image4.jpg]



[image: image5.emf]









Features

Color
-
Standard: white.
· Optional: almond for select options.

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
120V, 208V, 240/208V, 1-phase.

Construction
-
22-gauge steel cabinet, 20-gauge steel grille.


-
High-limit temperature control with manual reset.


- 
Additional one-time thermal fuse.
Fan
-
Quiet fan.


Heating element
-
Nichrome heating element provides instant heat.

Control
-
Built-in double-pole thermostat (-T2 models).
- 
Wall thermostat (not included, the use of an electronic thermostat is strongly  

recommended).


 
Note: If an electronic wall-mounted thermostat is used, it must be compatible with forced-air heaters.

- 
Controls located at the top of the unit.
Installation
-
6 in. (150 mm) minimum clearance to ﬂoor or any adjacent surfaces.


-
6 in. (150 mm) minimum clearance from ceiling.


-
Recessed only.

- Back box (wall can) is available for installation during wall construction and the 



Heater Assembly Only and the grille can be installed after walls are finish.


- 
Quick and easy installation easily retrofits most popular models.

- 
Wattage can be selected onsite.

Warranty
-
5-year warranty.
Application
-
Hallway, lobby, living room, kitchen, bedroom, oﬃce.
[image: image2.png]100 mm

315/16"

f
106 mm
43/16"

f

21T mm

= 13/16"

321Tmm

125/8"

321mm

125/8"

152 mm

6" MIN

Bottom View

Side View

Front View




Models 

	 Product #

Without thermostat2
	Qty
	Product #

Built-in 
thermostat
	Qty
	Volts
	Watts1
	BTU/hr
	Weight

	
	
	
	
	
	
	
	lb
	kg

	OVOHU1002BL
	
	OVOHU1002BL-T2
	
	120
	1000 or 500
	3413 or 1706
	7.3
	3.3

	OVOHU1502BL
	
	OVOHU1502BL-T2
	
	120
	1500 or 750
	5119 or 2560
	7.3
	3.3

	OVOHU1008BL
	
	OVOHU1008BL-T2
	
	208
	1000 or 500
	3413 or 1706
	7.3
	3.3

	OVOHU2008BL
	
	OVOHU2008BL-T2
	
	208
	2000 or 1000
	6825 or 3413
	7.3
	3.3

	OVOHU1000BL
	
	OVOHU1000BL-T2
	
	240/208
	1000/750 or 500/375
	3413/2560 or 1706/1280
	7.3
	3.3

	OVOHU1500BL
	
	OVOHU1500BL-T2
	
	240/208
	1500/1125 or 750/560
	5119/3839 or 2560/1911
	7.3
	3.3

	OVOHU2000BL
	
	OVOHU2000BL-T2
	
	240/208
	2000/1500 or 1000/750
	6825/5119 or 3413/2560
	7.3
	3.3

	Heater Assembly Only3 – Must be installed with back box (wall can) and grille available in Options 

	OVOHU1002-HAO
	
	OVOHU1002-T2-HAO
	
	120
	1000 or 500
	3413 or 1706
	4.2
	1.9

	OVOHU1502-HAO
	
	OVOHU1502-T2-HAO
	
	120
	1500 or 750
	5119 or 2560
	4.2
	1.9

	OVOHU1008-HAO
	
	OVOHU1008-T2-HAO
	
	208
	1000 or 500
	3413 or 1706
	4.2
	1.9

	OVOHU2008-HAO
	
	OVOHU2008-T2-HAO
	
	208
	2000 or 1000
	6825 or 3413
	4.2
	1.9

	OVOHU1000-HAO
	
	OVOHU1000-T2-HAO
	
	240/208
	1000/750 or 500/375
	3413/2560 or 1706/1280
	4.2
	1.9

	OVOHU1500-HAO
	
	OVOHU1500-T2-HAO
	
	240/208
	1500/1125 or 750/560
	5119/3839 or 2560/1911
	4.2
	1.9

	OVOHU2000-HAO
	
	OVOHU2000-T2-HAO
	
	240/208
	2000/1500 or 1000/750
	6825/5119 or 3413/2560
	4.2
	1.9


Standard color for complete unit is white.
Heater assembly must be installed with compatible back box (KIT-OVO-BB (-10)) and grill (KIT-OVOH(-T2)-GRIXX (-5)).

1Wattage can be selected onsite.
2Requires non pulsing wall-mounted thermostat. Please refer to the Wall Thermostats Reference Chart at the end of the catalog.
3 Heater Assembly Only (-HAO) available for United States market only.

Option
	Product # 

Kit
	Description
	Qty

	KIT-OVO-BB
	Back box (wall can)
	

	KIT-OVO-BB-10
	Back box (wall can) 10-pack
	

	White (BL)
	
	

	KIT-OVOH-GRIBL
	Grille OVOH white
	

	KIT-OVOH-GRIBL-5
	Grille OVOH white 5-pack
	

	KIT-OVOH-T2-GRIBL
	Grille OVOH-T2 white
	

	KIT-OVOH-T2-GRIBL-5
	Grille OVOH-T2 white 5-pack
	

	Almond (AM)
	
	

	KIT-OVOH-GRIAM
	Grille OVOH almond
	

	KIT-OVOH-GRIAM-5
	Grille OVOH almond 5-pack
	


Available colors for options are white and almond. Upcharge for almond.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

