[image: image1.jpg]


[image: image3.jpg]@DUELLET



[image: image3.jpg]

Approval Drawings

Series

OVS
Residential Wall Fan Heater
[image: image4.jpg]VERSION AVAILABLE




[image: image5.jpg]


    

Features

Color
-
Standard: white, almond.


-
Optional (upcharge applicable): metallic silver, bronze, metallic charcoal, 



aluminum, semi-gloss black, sand.


-
Custom colors available upon request.

Finish
-
Standard: epoxy/polyester powder paint.

Voltage
-
120V, 208V, 240/208V, 347V, 1-phase.

Construction
-
20-gauge steel cabinet.

-
22-gauge steel front cover.


-
High-limit temperature control with automatic reset.

Fan
-
Quiet fan operating.

-
120V, 208V, 240/208V models: 500W to 1000W; 40 cfm fan and 
1250W to 2000W; 80 cfm fan.

-
347V models: 80 cfm fan.

-
Factory-lubricated motor.

Heating element
-
120V, 208V, 240/208V: durable tubular heating element with fins.


- Factory sealed element upon request.
· 347V: Iron-Chromium-Aluminum alloy.

Control
-
Built-in thermostat available with a control knob or tamperproof.

-
If an electronic thermostat is used, it must be compatible with forced-air heaters.

Installation
-
Wall installation only.


-
The air outlet should be installed at least 4 in. (102 mm) from flooring withstands temperature and 10 in. (254 mm) from linoleum flooring.

-
Quick installation with recess box mounting holes.


-
Large wiring compartment.


-
May be recessed in 2 in. X 3 in. stud partitions.


-
Surface mounting box available.


-
Tight fit with V-shaped recess box.

Warranty
-
5-year warranty against defects.

Application
-
Entrance way, kitchen, bathroom, family room, basement. 
[image: image2.emf]








Models
	# Product
	Qty
	Volts
	Watts
	Weight

	
	
	
	
	lb
	kg

	OVSU0502
	
	120
	500
	9.0
	4.1

	OVSU0752
	
	120
	750
	9.0
	4.1

	OVSU1002
	
	120
	1000
	9.0
	4.1

	OVSU1252
	
	120
	1250
	9.0
	4.1

	OVSU1502
	
	120
	1500
	9.0
	4.1

	OVSU0500
	
	240/208
	500/375
	9.0
	4.1

	OVSU0750
	
	240/208
	750/563
	9.0
	4.1

	OVSU1000
	
	240/208
	1000/750
	9.0
	4.1

	OVSU1250
	
	240/208
	1250/938
	9.0
	4.1

	OVSU1500
	
	240/208
	1500/1125
	9.0
	4.1

	OVSU2000
	
	240/208
	2000/1500
	9.0
	4.1

	OVSU2008
	
	208
	2000
	9.0
	4.1


Options
	Product # 

Kit
	Product #

Factory installed*
	Description
	Qty

	KIT-OVS-BS
	-
	Surface mounting box
	

	KIT-OVS-DIS1
	DIS1
	Disconnect switch, 20A at 277V max. (120V, 208V, 240/208V only)
	

	-
	ES2
	Factory sealed element (347V factory installed only)
	

	KIT-OVS-TB6
	TB6
	Single-pole bi-metal thermostat (347V factory installed only)
	

	KIT-OVS-TB263
	TB263
	Double-pole bi-metal thermostat (347V factory installed only)
	

	KIT-OVS-TB6-AV
	TB6AV
	Single-pole bi-metal tamperproof thermostat (347V factory installed only)
	

	KIT-OVS-TB26-AV3
	TB26AV3
	Double-pole bi-metal tamperproof thermostat (347V factory installed only)
	


* For factory installed options, add the option number to the product number. See the Product Code section inside the front cover. 

1 For the U.S. only: The nominal current of the unit must not exceed 80% of the capacity of the disconnect. 

2 The option "sealed element" increases the reliability of these in humid environments. It does not completely eliminate the leakage currents of metal sheathed heating elements.
3 "Off" position.

Add "BL" for white, "AM" for almond.
Others

	Type
	Quantity
	Model et description

Complementary informations
	Volts
	Phase
	Watts
	Length

mm/in.
	Informations

Color/installation

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Eectrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

