Electronic Thermostats

Double-Pole Line Voltage Electronic Thermostat

|  | Product # | Watts | Volts | Amp. | DescrIption | Qty |
| --- | --- | --- | --- | --- | --- | --- |
|  | TH114-A-240D | 3600 | 240/208 | 15 | Non programmable electronic double-pole line voltage thermostat |  |

Standard color is white.

Double-Pole Line Voltage Electronic Thermostat

|  | Product # | Watts | Volts | DescrIption | Qty |
| --- | --- | --- | --- | --- | --- |
|  | TL116 | 1500/2600/3000 | 120/208/240 | Non programmable line voltage electronic thermostat |  |

Standard color is white.

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |