[image: image1.jpg]


[image: image2.jpg]\Y
0
§

0
J

0
J

115 mm
41/2"

-

127 mm

32mm

= 11/40



[image: image3.jpg]intertek
Phenlas





Approval Drawings

Series
OTH5007
Non Programmable Electronic Thermostat
[image: image4.jpg]@DUELLET






Features

Type
-
Non programmable electronic proportional pulsing thermostat.

Color
-
Standard: white.

Voltage
-
277/347V, 50/60 Hz.
Rating
-
Maximum load: 14.4A at 277/347V.

-
Minimum load: 1.25A at 277/347V.
Control
- 10-minute or 15-second cycle.

-
Resolution: ± 0.5 °C (1 °F).


-
Precision: ± 0.15 °C (0.27 °F) on 15-second cycle.

-
Precision: ± 0.5 °C (1 °F) on 10-minute cycle.

Temperature range
-
5 °C (41 °F) to 30 °C (86 °F).

Display
-
Digital screen.
· Display ambient temperature and heating level indicator (in continuous),


setpoint temperature setting (on demand), 


fan-forced heater mode and keypad lock (when activated).
Other feature
-
Choice of temperature display format (°C or °F).
· Temperature setpoints recorded permanently in case of a power outage.

· Ability to set minimum and maximum setpoints.
· Thermistor temperature sensing element.

Installation
-
2-wire thermostat, easy to install.

· Adapter plate for 347V junction box included.

· Not compatible with a product equipped with a transformer.

Application
-
Baseboard heater, radiant ceiling, radiant ﬂoor (without ﬂoor sensor), 
convector (short cycle) and fan-forced convector (long cycle).
Warranty
-
3-year warranty against defects.


Model
	Product #
	Description
	Volts
	Watts
	Qty

	OTH5007
	Non programmable electronic proportional pulsing thermostat
	277/347
	4000/5000
	


Standard color is white.

Specifications may change without prior notice

	Project:
	Approval

Information

	Consultant Engineer:
	

	Electrician Contractor:
	

	Distributor:
	

	Date:
	

	Contact in Ouellet:
	

	Comments:


180, 3e Avenue, L’Islet (Québec) G0R 2C0 CANADA • Phone: 1 800 463-7043 • Fax: 1 800 662-7801 • info@ouellet.com • www.ouellet.com

